Request for Proposal

Yuba Community College District

Yuba College Campus

Assessment of Building to Building Electrical Low-Voltage Pathways Verification

No. RFP 20-11

Issue Date:  November 2, 2020

RFP Due: December 1, 2020

RFP Due Date:  December 1, 2020, 1:00 pm Sharp, Yuba College Location Delivered To:

Yuba Community College District, District Offices

Attn.: David Willis

District Director of Facilities Planning, Maintenance & Operations

RFP No. 20-11 Yuba College, Assessment of Building to Building Electrical Low-Voltage Pathways

Address: 425 Plumas Blvd., Suite 200, Yuba City, California, 95991

Proposal Delivery Location, Front Counter at Second Floor

Yuba Community College District

District Offices

425 Plumas Blvd, Suite 200 (second floor)

Yuba City, California, 95991

TABLE OF CONTENTS

1.0 INTRODUCTION

1.1 District Information

1.2 Yuba Community College District Background

1.3 Purpose of the Request

1.4 Applicable Codes

2.0 Scope of Work

2.1 Project Schedule

2.2 District Staff Contacts during Proposal Process

2.3 Project Safety Requirements

2.4 Demolition-N/A

2.5 Non-Destructive Testing/Inspection/Technologies/Approach

3.0 Proposal Format Organization

3.1 Proposal Delivery, Contents, and Format

4.0 Selection of “Firm”

5.0 Basis of Award

6.0 Non-Discrimination

7.0 Response to Request for Proposal (RFP)

8.0 Requests for Information (RFI)

9.0 Proposal Schedule

10.0 District Parking

11.0 RFP Proposals

12.0 Award of Contract/Proposal

13.0 Reservation of Rights

14.0 Bid Bond, Performance Bond, Payment Bond Requirements: Not Applicable

15.0 Liquidated Damages

Appendix A, Proposal Base Bid Costs

Appendix B, Acknowledgement of Addenda Form

Appendix C, Statement of Qualifications Form

Appendix D, Project Scope Information

Appendix E, Descriptions of “Like” Projects

Appendix F, YCCD Professional Services Agreement

Appendix G, Non-Collusion Affidavit Form

Appendix H, References Form

Appendix I, Signature Proposal Form

Appendix J, Professional Services Assessment Firm Licenses, Certifications, etc..

Appendix K, Professional Services Assessment Firms Specific Approach Description

Informational Items:

Appendix L, Yuba College Campus Reference Drawings

Appendix M, YCCD Academic Calendar

Appendix N, Map of Yuba College Campus

Appendix O, N/A

1. INTRODUCTION

  - District Information:

The District consists of two colleges, Woodland Community College and Yuba College, with campuses located at six different locations: Yuba College in Marysville, CA; Sutter County Center in Yuba City, CA; Beale Education Center, Beale AFB, CA; Woodland Community College in Woodland, CA; Colusa County Center in Williams, CA; and Lake County Campus in Clearlake, CA.

  - Yuba Community College District

The Yuba Community College District (YCCD) was founded in 1927 and spans eight counties (Yuba, Sutter, Colusa, Yolo, Lake, Butte, Glenn and Placer) and nearly 4,200 square miles of territory in rural, north-central California. It has colleges in Marysville and Woodland, an educational center in Clearlake, an educational center in Williams, an educational center in Yuba City, and outreach operations at Beale Air Force Base.

  - Purpose Of Request

The Yuba Community College District seeks proposals from qualified Licensed Professional Services Assessment Firms to investigate existing campus conditions and determine existing available electrical low-voltage underground pathways between buildings and determine where new pathways are needed.  See Appendix D.  This is a professional services project.

Yuba College Campus Address:  2088 North Beale Road, Marysville, California 95901.

  - Applicable Codes

All work shall meet all State of California Building Codes, and Federal codes, and local ordinances.

Prevailing wages apply.  Please verify in your proposal that you have included prevailing wages.

- Scope of Work

See Appendix D.  This is a professional services project.

IMPORTANT SCOPE GUIDANCE:

The District has a campus-wide fire alarm system upgrade project that requires low voltage electrical pathways between all buildings.  The fire alarm systems upgrade project has just completed the Preliminary Planning phase of the design process.  This assessment work with identify where there is existing underground electrical low-voltage pathways between buildings and where there needs to be new underground pathways.  The District would like to optimize the existing pathways where possible.

2.1 Project schedule

Start Date:  December 21, 2020

Strongly Preferred 100% Completion Date:  January 21, 2021.

The Professional Services Assessment  Firm may work whatever hours are needed Monday through Friday.  Normal working hours are 7am to 4pm but can be adjusted to meet whatever the Professional Services Assessment  Firm needs.

This is a prevailing wage project. The Professional Services Assessment Firm is required to upload all certified payroll information to the Department of Industrial Relations web site.  The Professional Services Assessment Firm is also required to provide certified payroll information with progress payments.

Provide a brief project schedule with the proposal with the completion date clearly shown.

2.2 District Staff Contacts during the Proposal process:

Firms interested in submitting a Proposal are directed not to make personal contact with the Board of Trustees, District staff, or members of the evaluation committee. Any contact shall constitute grounds for disqualification from consideration.

Single Point of Contact during the Proposal Preparation Process:

David L. Willis

District Director of Maintenance, Operations, and Planning

425 Plumas Blvd., Suite 200 (Second Floor)

Yuba City, California, 95991

Cell Phone:  916-747-4262

Email:  dwillis@yccd.edu

Please email Dave Willis to verify that your firm will be submitting a proposal in response to this procurement process.

On-site coordination during assessment:

Bryan Epp

Assistant Director of Maintenance, Operations

2088 North Beale Road

Phone:  530-740-1722

Email:  bepp@yccd.edu

No changes can be made to the project scope without authorization in writing by David Willis.

2.3 Project Safety and Security Requirements

Safety is a top priority for the District. All California OSHA requirements apply.  Industry best practices apply. Professional Services Assessment  Firm employees shall wear shirts with sleeves, a hard hat, eye protection, hearing protection as needed, gloves, substantial leather footwear, long pants, a reflective safety vest, and take all needed precautions to complete the work in a safe manner.  Safety shall not be compromised at all during the work.

Enhanced fall protection precautions shall be taken.  During windy conditions, precautions shall be taken to ensure the safety of staff and to properly secure materials and debris.

The affected areas of construction shall be properly barricaded, have signs placed, and all reasonable precautions taken to keep staff and students out of the project boundary areas.  Debris shall be removed promptly.   Protection of College property shall be taken.  Professional Services Assessment Firm is 100% responsible for any damage to College property and facilities.

These campuses have a moderate risk of theft.  It is the sole responsibility of the Professional Services Assessment  Firm to secure all materials, equipment, tools, and the affected building.

COVID 19 BEST PRACTICES APPLY:

Professional Services Assessment  Firms are required to wear facial coverings and maintain social distancing whenever entering buildings and as much as possible when working outside.  The frequent use of hand sanitizer is strongly encouraged.  Professional Services Assessment Firm employees shall not report to work at the campus if they are sick or have been recently exposed to anyone knowingly that has tested positive to COVID 19.  If a Professional Services Assessment Firm has been tested for COVID 19, they shall not report to work at the campus until after test results are known and after they are no longer symptomatic. If any Professional Services Assessment Firm employees have been tested or have tested positive for COVID 19, this information shall be immediately shared with the District/College project Managers.

2.4 Demolition-N/A

The Professional Services Assessment Firm shall provide a debris waste manifest for all items removed from the campus.  Demolition shall be done in accordance with all State and Federal codes, laws, and ordinances.  Demolition shall be coordinated to greatly reduce possible impacts with students and staff.

2.5 Non-Destructive Testing/Inspection/Technologies/Approach

The Firm shall use non-destructive testing technologies.

3.0 Proposal Format Organization

The Firm is requested to use the following proposal format:

3.1. Proposal Delivery, Contents, and Format:

Proposals should provide straightforward, concise information that satisfies the requirements noted in this RFP. Expensive binding, color displays, and the like are discouraged. Emphasis should be placed on brevity, conformity to the Districts instructions, selection criteria of this RFP, and completeness and clarity of content. Each Respondent’s proposal should clearly and accurately demonstrate specialized knowledge and experience required for consideration.

In a sealed box or envelope (clearly marked “), submit the following:

- One (1) flash memory stick containing the complete proposal and supporting documentation;

- One (1) original and two (2) copies in paper form of the proposal, which consists of a Proposal Letter and responses to the proposal requirements of this RFP.

There is no page limit.

Firms must comply with the provisions of these instructions for completion and submission of the Proposal.  The failure of a Firm to comply with the Proposal Instructions and Requirements will likely result (at the sole discretion of the District) in rejection of the Proposal for non-responsiveness.

| Proposal Section | Format |
| --- | --- |
| - Cover Letter, Section 3.1.A | PDF |
| - Table of Contents, Section 3.1.B | PDF |
| - Identification of the Firm, Section 3.1.C | PDF |
| - Executive Summary, Section 3.1.D | PDF |
| - Staffing Resources, Section 3.1.E | PDF |
| - Experience, Section 3.1.F | PDF |
| - Project Approach, Section 3.1. G | PDF |
| Appendices (See Table of Contents for each one) Submit a response to each Appendix that requires Professional Services Assessment Firm information. Please submit responses to Appendices A, B, C, E, F, G, H, I, J, K. | PDF |

Proposal General Information Contents:

The following is a summary of the Contents.  Please address each section in a Tabbed Format.

Information requested will help the District determine if the Firm is a “Responsible Bidder”.

### 3.1.A. Cover Letter

The Proposal shall include a Cover Letter on Respondent’s official business letterhead, which shall be signed by an individual authorized to legally bind Respondent. The Cover Letter shall also identify the name, telephone number, and email of a person who may be contacted during the Proposal evaluation process.

3.1.B.  Table of Contents

Provide a Table of Contents that outlines in sequential order the major sections and sub-sections of the Proposal. All pages in the Proposal shall be clearly and consecutively numbered and correspond to the Table of Contents.  Use tabs to allow information to be more easily located.

3.1.C.  Identification of the Firm

1.  Legal name and address of company.

2.  Legal form of company (corporation, partnership, etc.).

3. Name, address, phone number, facsimile number, email address, website address, direct email address for the following:  Firm’s Principal in Charge, person(s) who will be primarily responsible for providing services for this Qualifications Package, and the contact for scheduling an in-person interview

If the Firm is selected for one.

4.  California Business License Number (as applicable)

5.  Other Licenses

### 3.1.D. Executive Summary

The Proposal shall include an Executive Summary that briefly describes the Firm, the services and types of projects that are the core business, and why this project “fits” within the business model of the Firm.

3.1.E.  Staffing Resources

Firm Staffing and Key Personnel Assigned to this Project

a. Provide total number of staff currently employed by the firm.

b. Identify person/s who will be principally responsible for the work and their role.

c. Provide a list of first tier sub-Professional Services Assessment  Firms

3.1.F.  Experience

- Provide a description of the Firm’s experience on these of type projects.

- State the number of years the firm has conducted business.  Firm must have at least five (5) years related experience.

- Describe the experience and credentials of the staff assigned to this project. The Superintendent/Foreman shall be on site whenever work is being performed.

3.1.G.  Project Approach

Describe the project approach that the Professional Services Assessment  Firm will take to provide a safe, efficient, cost effective, high quality project that will protect existing College property/buildings, minimize impacts to student classes, and meet all criteria outlined in this RFP.

# 4.0 Selection of “Firm” Services Provider

The process of “Firm” selection is based upon the complete responsiveness of the RFP and the criteria as outlined in the RFP.

The District Project Evaluation Team will read the written proposals.  The District Evaluation Team will discuss the proposals and verify that the “Basis of Award” information below and information submitted in response to the RFP are complete and responsive.

The District reserves the right to reject any and all submittals, to amend the RFP process, and to discontinue or re-open the process at any time. The District reserves the right to request clarifications to RFP responses and to negotiate the terms of the agreement.

# 5.0 Basis of Award

This project will be awarded based on the following criteria:

- Lowest Total Cost Responsive Qualified Bidder

  - Lowest Total Cost

  - Professional Services Assessment  Firm Capability to do the work

  - Qualified Professional Services Assessment  Firm

    - Proper State of California Professional Services Assessment  Firm License in good standing

    - Appendix C Statement of Qualifications Information

    - Information provided as requested in the RFP.

    - All Addendums are acknowledged.

    - Professional Services Assessment  Firm listed any exceptions or exclusions.  Professional Services Assessment  Firms should bid the project per the RFP and contract documents and then offer exceptions and exclusions or cost deductive or additive alternatives separately from the base bid.

    - If there is a historical context of projects with the District, they have been completed on schedule, providing high quality workmanship, minimal/reasonable change orders, and per the construction documents.  Warrantees were supported professionally, timely, without impact to College/District, and per manufacturer requirements.

The Lowest Total Cost Responsive Qualified Bidder that provides the most advantageous proposal to the District as determined solely by the District.

The apparent lowest total cost responsive qualified bidder may be requested to participate in a ZOOM interview process with the District Project Proposal Evaluation Team.

6.0 Non-Discrimination

The District does not discriminate with regard to race, color, gender, national origin, disability, or any other protected or other classification in the awarding of contracts/agreements.  The District welcomes all Qualified Firms to participate in the project Request for Qualification/Proposal process.

The District encourages firms that are women or minority owned, emerging small businesses, veteran owned firms, disabled person owned firms, and all other qualified firms to participate in the proposal process.

The District encourages the submission of proposals from all Firms that can meet the stated requirements set for this RFP.

7.0 Responses to RFP:

Sealed responses to this RFP must be clearly marked "RFP NO. 20-11 YC Assessment of Building to Building Electrical Low-Voltage Pathways Project”.

Responses shall be mailed to or hand-delivered to the following address:

Yuba Community College District, District Offices

Attn.: David Willis

District Director of Facilities Planning, Maintenance & Operations

Envelope/Box Marked:

"RFP NO. 20-11 YC Assessment of Building to Building Electrical Low-Voltage Pathways Project”.

Address: 425 Plumas Blvd., Suite 200, Room 216, Yuba City, California, 95991

Note:  Completely seal your proposals in envelope/box and make sure it gets date/time stamped when delivering proposal.  Firms are each 100% responsible to make sure proposals that are mailed using a carrier such as UPS, FED Ex, etc…are received and date/time stamped by District personnel prior to the proposal due date/time.  No proposals will be considered if they are late, even if it is only 5 minutes late.  Please make sure your proposals are delivered and received promptly prior to the due date/time.  There will be a public proposal opening at the due date/time.

Do NOT email your proposals.  Emailed proposals that are not sent per the above guidance requirements will not be considered.

8.0 Requests for Information (RFI)

Requests for Information concerning the RFP must be in writing and may be submitted via email no later than the date shown below. Please direct all questions to David Willis, email: dwillis@yccd.edu.

Following the RFI deadline, all questions and answers will be summarized and posted on the District's website: https://www.yccd.edu/central-services/purchasing/ , then, click on the “Requests for Proposals / Quotes” tab on the right hand side of this web page.  It is anticipated that responses to inquires received by the required time and date will be provided within 5 business days and posted on the District's website or responded to per the dates listed in the RFP for addendum publishing.  Should more time be needed by the District to answer I respond to RFI’s, this information will also be posted on the above website.

- Include the following in the subject matter field on emails when requesting information:  “RFP 20-11”, RFI.

9.0 Proposal Schedule:

Important Dates and Times:

November 2, 2020	Release of Request for Proposal at 4:00PM

November 12, 2020:	10:00 AM, Mandatory Pre-Bid Meeting at Yuba College Campus, Building 1400, Maintenance Conference Room, 2088 North Beale Road, Marysville, California 95901

Prospective Professional Services Assessment  Firms wishing to participate in this bidding process are required to have a representative attend, sign the login sheet, and conduct a field inspection of the campus existing conditions.  If you are unable to attend this meeting, please contact Bryan to coordinate a time that work s

November 19, 2020:	5:00 PM, All questions and requests for information must be submitted to David Willis at: dwillis@yccd.edu.

November 20, 2020:	Addendum Issued if needed.

December 1, 2020:	Proposals due at 1:00 PM SHARP, Yuba Community College District, District Offices Location, see page 1.  There will be a public bid opening on this RFP.

December 21, 2020:	Expected date of Award with Purchase Order

January 21, 2021:	STRONGLY PREFERRED COMPLETION DATE.

This is a prevailing wage project.

11.0 District Parking:

-No parking in Reserved Spaces without a proper permit

-Permit Parking is enforced in all general lots between 6:00 am and 6:00 pm, Monday through Friday. All general lots require a properly displayed, valid permit during these times 
-Daily Parking Permits are $2.00

-Permits are available for purchase at any of the permit machines located in the student parking lots 
-All other parking regulations are enforced 24 hours a day, seven days a week.  This includes designated staff spaces, handicap spaces, timed spaces, red zones, yellow zones, and areas not marked (no parking at any time)

-Once this project is awarded, temporary parking permits will be processed as requested by the successful firm for all employees associated with this project at no cost to the Firm for the duration of the project at each Campus location.  These temporary permits must be displayed at all times on the dash board of employee vehicles.

10.0 RFP Proposals

Proposals received after the deadline will not be opened. Each responder shall submit one (1) signed original, two (2) additional hard paper copies, all in separate binders. Provide one electronic format copy of the proposal using electronic media such as a flash drive, CD, etc...

All materials submitted in response to the RFP shall be on 8-1/2"x11" paper, preferably in

Portrait orientation. All submitted materials must be bound in either a three-ring binder or spiral bound notebook. Content shall be tabbed and numbered per the items included in the Submittal Requirements. All Proposals will be reviewed and evaluated by a District Selection Committee. The District at its sole discretion may interview finalists or select a firm or firms to perform work based solely on the evaluation of the Proposal.  Although there is no page limit.

All Proposals become the sole property of the District and the content will be held confidential until the selection of the firm is made and the project is awarded.

12.0 Award of Contract

- The Contract will be awarded to the lowest total cost, most responsive responsible qualified proposer whose proposal, conforming to the request for proposal and associated addendums, will be most advantageous to the District.

B.   The District reserves the right to enter into an Agreement without further discussion of the proposal submitted based on the initial offers received.

C.  The District reserves the right to reject any or all proposals or any part of the proposal and to waive informalities and minor irregularities in the proposals received.

D.  The RFP, its addendums, any follow-up clarifying information, and the proposal of the selected Firm will become part of any contract initiated by the District.

E.   A formal contract shall be signed by the successful proposer and Yuba Community College District to perform this service.

F.   The District reserves the right to enter into discussions with any one or all of the Responders after Proposals have been initially reviewed. Such responses shall be subject to all provisions, terms and conditions as set forth in the RFP, unless otherwise modified.

G.   The District intends to award to a single RFP Responder.

H.   Failure to acknowledge all of the addendums, provide the items listed in the RFP, may render the proposal unresponsive at the discretion of the District.

I.   The District reserves the right to request clarification of proposal content during the review and evaluation process.

J. 	The District reserves the right to negotiate the terms of the agreement to align with budgetary constraints.

K. 	Due to the heightened risk of illness that could then affect the performance of the Professional Services Assessment  Firm, Firms with multiple employee teams and the resources to adapt and complete the scope of work per the RFP, will score higher in the evaluation process.

13.0 Reservation of Rights

The District reserves the right to:

- Reject any or all submittals at its sole discretions.

- Cancel the Request for Proposal (RFP), without cause.

- Modify any requirements contained within the RFP and request a revised submission from all Providers.

- Establish other evaluation criteria determined to be in the best interest of the District.

- Contract with any of the firms responding to the RFP based solely upon its judgment of the qualifications and capabilities of the firm.

- Clarify the content of any proposal to verify that the requirements of the RFP are included.

- Waive “minor” proposal inconsistencies that do not change the scope of work as outlined in the RFP.

- Request an alternative Superintendent on the project if the initially assigned Superintendent on the project is not performing well, not meeting project requirements, not working well with College staff and students, not applying best practice safety methods, OR not following College/District guidance regarding project approach.

This RFP does not commit the District to award or negotiate a contract. The District will not be responsible for any expenses incurred by any firm in preparing and submitting a proposal or response to this RFP or in completing any of the work specified.

14.  Bid Bond, Performance Bond, Payment Bond Requirements:  Not Applicable

Note:

Since this is a Professional Services Agreement, there is no need for a Bid Bond, Performance Bond, or a Payment Bond.

15.0 Liquidated Damages:

There are no liquidated damages on this project.

Appendix A:  Proposal Base Bid Costs

  - Assessment/Testing and Inspection Fee:			$                                         .

  - Other:					       		$                                         .

  - Other:							$                                         .

  - Sub-Total Costs:           					 $                                         .

  - Allowance for Unforeseen Conditions Contingency	 $       2,500.00                    .

Note: Each item will require approval by the District with proper documentation.  Additional items will be considered on a case by case basis.  It remains the Professional Services Assessment  Firms responsibility to do reasonable due diligence inspection and evaluation to determine and include as many items as possible during the proposal bidding process and to make all reasonable efforts to identify items before damaging them during the construction process.

  - Total Assessment Costs:  				 $                                         .

Note:

Firm to provide all applicable hourly rates for technicians and others.

No overtime shall be used in this project.

Alternatives may be suggested but each Firm is expected to bid the project the same as the RFP describes.

Prevailing wages apply.

This is a Professional Services project.

Appendix B:  Acknowledgement of Addenda Form

The undersigned acknowledges receipt of the following addenda from the District pursuant to the Request for Proposal:

Acknowledgement: Yes or Not Applicable

Addendum No. 1:                                                                              .

Addendum No. 2:                                                                               .

Addendum No. 3:                                                                               .

Addendum No. 4:                                                                                .

Addendum No. 5:                                                                              .

Firms are required to acknowledge all addenda’s within the submitted proposal at the time of submission.

Appendix C:  Statement of Qualifications Form

The Respondent shall furnish the following information. Failure to comply with this requirement will render the submittal informal and may cause its rejection.  Additional sheets may be attached if necessary.

- Firm name and primary address:

- Telephone: 		Facsimile:

- Email Address:

- Names and titles of two officers of the firm:

NAME	TITLE

4.1

4.2

- Specific type of Ownership (Check one)

| 5.1 | Individual |  |
| --- | --- | --- |
| 5.2 | Partnership |  |
| 5.3 | Corporation; If a corporation, state the following: State of incorporation: |  |
|  | Date of incorporation: President/CEO: |  |
| 5.4 | Joint Venture |  |
| 5.5 | Other (Specify) |  |

- Taxpayer Identification

- Number of years Respondent has been in business:

- Number of years Respondent has conducted business under the present name:

- Number of years’ experience in California Community College, University, or Public facility projects 	.

- Has the Respondent been in litigation on an issue pertaining to any contract during the past five (5) years?

If yes, provide detailed information regarding the litigation, whether it was settled or not, the amount of the settlement, the liability of the claim, the circumstances and type of project, and provide case name and number.

- Has the Respondent ever failed to complete a project in the past five (5) years?  	 If so, give owner and details:

- Safety Insurance Modifier Number:                             .

Appendix D:  Specific Project Scope Information

The scope of work:

Provide an assessment of existing low voltage / fire alarm conduit pathway to determine feasibility to re-use the pathway(s) for forthcoming campus-wide fire alarm upgrade project and to determine if any new underground conduit pathway is required. Assessment shall include documentation of existing conditions, including:

- Conduit size and quantity, cable type and capacity in the conduits

- General condition of the conduit pathway to determine if it can be re-used

- Location / size of existing junction boxes and pull boxes that are part of the pathway

- Source and destination of the conduits

- The successful firm is expected to provide accurate drawings showing existing and new building to building pathways.  New pathways are preferred to be “directionally bored new conduit and/or piping” if at all possible.   The depth of the new access path shall be confirmed if possible to determine both the routing and the pathway.  New patches shall be high quality.  If asphalt paving is to be patched it shall be done with either concrete or hot asphalt paving and not “cold patched” if possible.

Also see the following pages.

Also refer to the documents in this shared folder link:

https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/EvEknXnSTGBDudv1kqiRP_cBzaOQIFyBUgKIRYLTUo113g?e=Bsi50v

Appendix E:  Descriptions of Past “Like” Projects:

Provide at least five (5) examples of similar projects at Community Colleges or Universities, or K-12 Schools or public agencies/institutions that your firm has completed in the past three (3) years.

Appendix F: YCCD Professional Services Agreement

Please refer to the following Drop Box folder link:

https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/ErNBclRF6a5CsYHAVf-9JD0BRO7QY60W4LVH1dlGWs1Zsg?e=iAMYur

Note:

Since this is a Professional Services Agreement, there is no need for a Bid Bond, Performance Bond, or a Payment Bond.

Appendix G: Non-Collusion Affidavit Form

STATE OF CALIFORNIA, COUNTY OF                                            I, being first duly sworn, deposes and says that I am the                                            of                                                    , the party submitting the foregoing proposal (“the Proposal”).  In connection with the foregoing Proposal, the undersigned declares, states and certifies that:

- The Proposal is not made in the interest of, or on behalf of, any undisclosed person, partnership, company, association, organization or corporation.

- The Proposal is genuine and not collusive or a sham.

- The Firm has not directly or indirectly induced or solicited another Firm to put in a false or sham proposal, and has not directly or indirectly colluded, conspired, connived, or agreed with any other Firm or anyone else to put in a sham proposal, or to refrain from bidding.

- The Firm has not in any manner, directly or indirectly, sought by agreement, communication, or conference with anyone to fix the proposal price, or that of any other Firm, or to fix any overhead, profit or cost element of the proposal price or that of any other Firm, or to secure any advantage against the public body awarding the contract of anyone interested in the proposed contract.

- All statements contained in the Proposal and related documents are true.

- The Firm has not, directly or indirectly, submitted the proposal price or any breakdown thereof, or the contents there of, or divulged information or data relative thereto, or paid, and will not pay any fee to any person, corporation, partnership, company, association, organization, proposal depository, or to any member or agent thereof to effectuate a collusive or sham proposal.

Executed on this date:                                         , 2020/2021, at:

(City, County, and State)

I declare under penalty of perjury under the laws of the State of California that the foregoing is true and correct.

Signature                                                                        Printed Name                                      .

Address:                                                                                                                                         .

Area Code & Phone Number:                                                                                                         .

Note: In addition to other bid documents, bidders on public works projects are required by Public Contract Code section 7106 to submit a certification form that they have not colluded with another proposer.

Appendix “H” References Form (Example Template)

Bidder shall provide a minimum of Five (5) verifiable references with current contact information, preferably from a California public educational institution and/or California public agency, representing projects started and completed within the last 5 years. See clarification note below regarding reference requirements. All phone numbers and emails must be current (please verify).. REFERENCE #1. NAME. ADDRESS. CITY, STATE ZIP CODE. TELEPHONE #. CONTACT. DATES OF SERVICE. REFERENCE #2. NAME. ADDRESS. CITY, STATE, ZIP CODE. TELEPHONE #. CONTACT. DATES OF SERVICE. REFERENCE #3. NAME. ADDRESS. CITY, STATE, ZIP CODE. TELEPHONE #. CONTACT. DATES OF SERVICE.. You may of course use the Firm’s established reference template..

Appendix “I” Proposal Signature Form

The undersigned acknowledges the following:

- Having become familiar with the specifications and requirements of the Request for Proposal, hereby offers to provide all services in accordance with the proposal set forth herein, including all referenced material and attachments.

- By submitting a signed proposal in response to this solicitation, the Firm acknowledges that they completely understand the scope of the needed services and that the proposed services as described in the proposal will meet or exceed the needs of the District.

- Late proposals will not be accepted (even if they are only 5 minutes late).

- The District reserves the right to reject any and all proposals and that this proposal shall remain open and not be withdrawn for a minimum of 90 days.

- Cancellation Clause:  The District may, without cause, terminate the contract(s) or a project under the contract(s) by giving written notice of such termination to the awarded firm. In the event of such termination the District shall reimburse the firm for services performed and reasonable expenses actually incurred by the firm in relation to the terminated project prior to the firm’s receipt of such notice of termination. The cost of proposal generation, associated travel, copies, postage, etc.., will not be reimbursed and is considered a typical and normal part of the bid process and is not reimbursed for any of the proposers.

- If the prospective Firm is a corporation, the undersigned hereby represents and warrants that the corporation is duly incorporated and is in good standing in the     state of       California   , and that,                                                , is authorized to act for and bind the corporation.

Entity Type (Select One):

Sole Owner:                            	Partnership:                  .

Corporation:	              .

Other; Please specify;

- Regular monthly progress payments are made using NET 30 as a basis for payment, with Net 30 time starting after receipt of the invoice with all required support documentation, and once this information is reviewed and approved by the District.

Invoices must be emailed to the following with all support documentation:

Vendors with a first letter of A through N:  rlangly@yccd.edu; rordiway@yccd.edu

Vendors with a first letter of O through Z:  hgardner@yccd.edu; rordiway@yccd.edu

It is critical that invoices have all required support documentation including an updated schedule of values with 5% retainage for construction projects, updated project schedule, description of completed work, and any other information that will help to justify and support the progress payment request.

Signature_____________________________ Date: _______________________

Position: _____________________________

Print name____________________________ Title________________________

Notary Required On This Project

Notary Stamp:

Appendix J:  Professional Services Assessment  Firm Licenses, Certifications, etc..

--Provided by Firm

Appendix K:  Professional Services Assessment  Firms Specific Approach Description

The Professional Services Assessment  Firm shall describe specifically how they will utilize the limited available information provided by the College/District to determine existing available pathways between buildings and how they will determine where new pathways are needed.

The Firm shall provide a preliminary schedule and work plan.

The Firm shall describe the technologies used to make determinations.

The Firm shall describe any assumptions or exceptions made.  This project is being bid as a lump-sum project and not a “not to exceed” type project.

The Firm shall describe just how existing utilities will be protected from damage.

The Firm shall describe their working hours and days.

Appendix L:  Yuba College Campus Reference Drawings:

See Folder Link:

https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/EvEknXnSTGBDudv1kqiRP_cBf9WHfKO-022SMW7PrF9Vxg?e=lOaFTX

Appendix M:   YCCD Academic Calendars—see next page

Appendix N:  Yuba College Map

Appendix O: N/A

The End.