**Addendum No. 1**

**RFP 21-06 WCC and LCC LED Monument Signs**

Date: 10/04/2021

Date: January 26, 2016

**Clarifications:**

1. **LED Digital Sign matrix sizes:**

Woodland Community College:

144 x 216 (5’4” high x 7’6” wide) or 144 x 252 (5’4” tall x 8’8” wide).

Lake County Campus:

72 x 144 (2’11” high x 5’1” wide)

1. **Configurations:**

Woodland Community College:

The new LED Digital Sign shall be mounted on the top of the existing base. If this will not work for some reason, provide a new base and note it in your proposal.

Lake County Campus:

The overall height of the new sign shall be as low as is reasonable. Please provide a rendering of the sign configuration in your proposal.

1. **Local Lake County / Lower Lake / Clear Lake Ordinances and Permits:**

The Contractor shall get all required permits and the sign shall be designed to meet the local regulations regarding monument signs.

1. **Electrical Service for LCC LED Monument Sign:**

The Contractor shall provide a description of what is included in the proposal to provide needed power for the new sign. A sketch showing the routing of the new underground service size, depth of conduit, wiring size, shall be provided. The identification of the electrical panel, breaker, voltage, phase, and amperage shall be provided.

1. **LCC Building Drawings, Underground Site Utilities:**

The College/District does not have complete underground utilities shown on a drawing. The contractor shall hire a third-party locating firm to local all underground utilities. The contractor shall make all needed repairs to the campus site after the underground electrical service is installed. The following drawings are of the two closest buildings to the monument sign location:

Building 100 drawings (Building A):

<https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/EghppDFBGklDuQze8Ol-nqABlEQWqDC_XFaH_mFa28AlKQ?e=cPMJMF>

<https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/EnfgB5ZRqvNJpUFktK2pWPQBAEnf6-MeTJc7OQKT8wCpYw?e=VmZOyC>

Building 200 drawings (Building B):

<https://goyccd-my.sharepoint.com/:f:/g/personal/w0398409_yccd_edu/EnkahL3_xupKj2knTKKkSlQBHkSnp2tAnoVaRh33QJEd5Q?e=0iJUin>

**The End.**